## Results
Attribute | Report | Room_PHAERO_3_EAST | Room_PHAERO_3_INTERNALONLY | Room_PHAERO_3_NORTH | Room_PHAERO_3_SOUTH | Room_PHAERO_3_WEST
CO2 | PEAK-SUMMARY | 669.2 | 652 | 668.4 | 669.3 | 667.6
DRYVENTCOOL | PEAK-SUMMARY | 453 | 364.2 | 461 | 461 | 459.9
DRYVENTCOOL_2NDSNAP | PEAK-SUMMARY | -452 | -320.4 | -460.9 | -460.9 | -459.7
MAXHEATREM | PEAK-SUMMARY | 556.3 | 492.2 | 814.9 | 846.9 | 561.5
MAXHEATREM_2NDSNAP | PEAK-SUMMARY | 556.3 | 492.2 | 814.9 | 846 | 561.5
MAXSENSREM | PEAK-SUMMARY | 450.4 | 359.4 | 710 | 741.1 | 458.1
MULTIPLICITY | PEAK-SUMMARY | 2 | 2 | 2 | 2 | 2
OTHERSUPAIRFLOW | PEAK-SUMMARY | 1.633 | 1.633 | 1.633 | 1.633 | 1.633
OTHERSUPAIRTEMP | PEAK-SUMMARY | 25.94 | 21.61 | 25.09 | 25.63 | 24.82
PEAK | PEAK-SUMMARY | 556.3 | 492.2 | 814.9 | 846.9 | 561.5
PEAK_TIME | PEAK-SUMMARY | 3961581353 | 3961558800 | 3961584000 | 3961582305 | 3961584677
PEAK_TIME_2NDSNAP | PEAK-SUMMARY | 3961581353 | 3961558800 | 3961584000 | 3961584000 | 3961584677
PEAK_TYPE | PEAK-SUMMARY | MAXHEATREM | MAXHEATREM | MAXHEATREM | MAXHEATREM | MAXHEATREM
PEAK_VAR | PEAK-SUMMARY | FALSE | FALSE | FALSE | FALSE | FALSE
PPD | PEAK-SUMMARY | 5.358 | 5.525 | 5.779 | 5.795 | 5.467
QINTW | PEAK-SUMMARY | -399.6 | -255.3 | -290.4 | -260.1 | -414.2
QL_A | PEAK-SUMMARY | 2.604 | -3.781 | 0.69 | 1.737 | 0.2769
QVENTIL | PEAK-SUMMARY | -452 | -320.4 | -460.9 | -460.9 | -459.7
QVENTIL_2NDSNAP | PEAK-SUMMARY | -452 | -320.4 | -460.9 | -460.9 | -459.7
QWCB | PEAK-SUMMARY | -509.7 | -340.6 | -514.1 | -474.8 | -487.8
QWIND | PEAK-SUMMARY | 439.8 | 0 | 609.9 | 558.7 | 470.5
Q_COOL | PEAK-SUMMARY | 0 | 0 | -251.5 | -282.2 | 0
Q_COOL_2NDSNAP | PEAK-SUMMARY | 0 | 0 | -251.5 | -282.6 | 0
Q_DRYVENT | PEAK-SUMMARY | -452 | -320.4 | -460.9 | -460.9 | -459.7
Q_DRYVENT_2NDSNAP | PEAK-SUMMARY | -452 | -320.4 | -460.9 | -460.9 | -459.7
Q_EQUIP | PEAK-SUMMARY | 200.3 | 200.3 | 198.2 | 200.3 | 194.6
Q_HEAT | PEAK-SUMMARY | -7.664e-24 | -2.071e-17 | 3.763e-24 | 2.529e-20 | 0
Q_LIGHT | PEAK-SUMMARY | 489.3 | 490 | 477.2 | 484 | 475.4
Q_LOSS | PEAK-SUMMARY | 0 | 0 | 0 | 0 | 0
Q_OCC | PEAK-SUMMARY | 233.2 | 236 | 230.9 | 233.3 | 226.7
RELHUM | PEAK-SUMMARY | 48.64 | 60.17 | 48.32 | 48.27 | 48.39
RETAIRFLOW | PEAK-SUMMARY | -52.6215 | -52.897 | -52.5964 | -52.5964 | -52.5964
ROOMUNITCOOL | PEAK-SUMMARY | 0 | 0 | 251.5 | 282.6 | 0
ROOMUNITCOOL_2NDSNAP | PEAK-SUMMARY | 0 | 0 | 251.5 | 282.6 | 0
SETPOINT | PEAK-SUMMARY | 24 | 24 | 24 | 24 | 24
SUPAIRFLOW | PEAK-SUMMARY | 53.9239 | 53.8738 | 53.9155 | 53.9239 | 53.9155
SUPAIRFLOW_2NDSNAP | PEAK-SUMMARY | 53.9239 | 53.8738 | 53.9155 | 53.9155 | 53.9155
SUPAIRTEMP | PEAK-SUMMARY | 17.01 | 17.01 | 17.01 | 17.01 | 17.01
SUPAIRTEMP_2NDSNAP | PEAK-SUMMARY | 17.01 | 17.01 | 17.01 | 17.01 | 17.01
TAIR | PEAK-SUMMARY | 23.86 | 21.87 | 24 | 24 | 23.98
TAIR_2NDSNAP | PEAK-SUMMARY | 23.86 | 21.87 | 24 | 24 | 23.98
TOP | PEAK-SUMMARY | 24 | 21.83 | 24.4 | 24.41 | 24.12
DIN41082-DEG_H | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
DRYVENTCOOL | ZONE-SUMMARY | 9.2449 | 7.4327 | 9.4082 | 9.4082 | 9.3857
H_T_AIR_HI | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
H_T_AIR_LO | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
H_T_OP_HI | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
H_T_OP_LO | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
LOCAL-CH-OCC_COLD | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
LOCAL-CH-OCC_HOT-1 | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
LOCAL-CH-OCC_HOT-1-KHR | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
LOCAL-CH-OCC_HOT-2 | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
LOCAL-CH-OCC_HOT-2-1.5K | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
LOCAL-CH-OCC_HOT-2-KHR | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
LOCAL-CH-OCC_HOT-2-KHR1.5K | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
LOCAL-CH-TOT_COLD | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
LOCAL-CH-TOT_HOT-1 | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
LOCAL-CH-TOT_HOT-1-KHR | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
LOCAL-CH-TOT_HOT-2 | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
LOCAL-CH-TOT_HOT-2-1.5K | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
LOCAL-CH-TOT_HOT-2-KHR | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
LOCAL-CH-TOT_HOT-2-KHR1.5K | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
MAXAIRAGE | ZONE-SUMMARY | 0.983 | 0.983 | 0.983 | 0.983 | 0.983
MAXCO2 | ZONE-SUMMARY | 669.3 | 669.3 | 669.3 | 669.3 | 669.3
MAXEXHAIRFLOW | ZONE-SUMMARY | 1.0833 | 1.085 | 1.0816 | 1.0811 | 1.0821
MAXHEATREM | ZONE-SUMMARY | 11.3531 | 10.0449 | 16.6306 | 17.2837 | 11.4592
MAXHEATSUP | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
MAXPPD | ZONE-SUMMARY | 5.804 | 6.493 | 5.78 | 5.804 | 5.48
MAXRELHUM | ZONE-SUMMARY | 62.19 | 64.76 | 60.95 | 60.57 | 60.92
MAXSOLAR | ZONE-SUMMARY | 12.6837 | 0 | 17.8061 | 22.0612 | 11.6857
MAXSUPAIRFLOW | ZONE-SUMMARY | 1.1005 | 1.1005 | 1.1005 | 1.1005 | 1.1005
MINRELHUM | ZONE-SUMMARY | 48.63 | 52.81 | 48.03 | 47.95 | 48.39
MULTIPLICITY | ZONE-SUMMARY | 2 | 2 | 2 | 2 | 2
NET_FLOOR_AREA | ZONE-SUMMARY | 49 | 49 | 49 | 49 | 49
OCCUPANCY | ZONE-SUMMARY | 11 | 11 | 11 | 11 | 11
OCC_HOURS | ZONE-SUMMARY | 29.37 | 29.37 | 29.37 | 29.37 | 29.37
PDH | ZONE-SUMMARY | 1.523 | 1.593 | 1.576 | 1.623 | 1.509
ROOMUNITCOOL | ZONE-SUMMARY | 0 | 0 | 5.1327 | 5.7673 | 0
ROOMUNITCOOLEN | ZONE-SUMMARY | 0 | 0 | 0.7574 | 1.083 | 0
ROOMUNITCOOLENAREA | ZONE-SUMMARY | 0 | 0 | 0.015457 | 0.022102 | 0
ROOMUNITHEAT | ZONE-SUMMARY | 3.249e-18 | 7.8327e-18 | 5.2408e-18 | 7.1204e-18 | 0
ROOMUNITHEATEN | ZONE-SUMMARY | 0 | 2.617e-20 | 0 | 1.065e-19 | 0
ROOMUNITHEATENAREA | ZONE-SUMMARY | 0 | 5.3408e-22 | 0 | 2.1735e-21 | 0
TAIRMAX | ZONE-SUMMARY | 23.88 | 22.53 | 24 | 24 | 23.98
TAIRMIN | ZONE-SUMMARY | 21.14 | 20.66 | 21.53 | 21.68 | 21.47
TATMAXSUPAIRFLOW | ZONE-SUMMARY | 17.01 | 17.01 | 17.01 | 17.01 | 17.01
TOPMAX | ZONE-SUMMARY | 24.03 | 22.58 | 24.4 | 24.42 | 24.12
TOPMIN | ZONE-SUMMARY | 21.59 | 21.06 | 22.14 | 22.72 | 21.91
UNMET_COOL | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
UNMET_HEAT | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0