## Results
Attribute | Report | Room_PHAERO_4_EAST | Room_PHAERO_4_INTERNALONLY | Room_PHAERO_4_NORTH | Room_PHAERO_4_SOUTH | Room_PHAERO_4_WEST
CO2 | PEAK-SUMMARY | 569.4 | 579.7 | 579.9 | 568.3 | 565.6
DRYVENTCOOL | PEAK-SUMMARY | 355.5 | 272.7 | 409.9 | 417.5 | 358.3
DRYVENTCOOL_2NDSNAP | PEAK-SUMMARY | -289.3 | -263.4 | -408.7 | -380.2 | -292.8
MAXHEATREM | PEAK-SUMMARY | 426.9 | 334.3 | 474.5 | 522 | 433.6
MAXHEATREM_2NDSNAP | PEAK-SUMMARY | 426.9 | 334.3 | 474.5 | 522 | 433.6
MAXSENSREM | PEAK-SUMMARY | 349.6 | 265.2 | 406.3 | 414.2 | 353.8
MULTIPLICITY | PEAK-SUMMARY | 2 | 2 | 2 | 2 | 2
OTHERSUPAIRFLOW | PEAK-SUMMARY | 1.633 | 1.633 | 1.633 | 1.633 | 1.633
OTHERSUPAIRTEMP | PEAK-SUMMARY | 21.83 | 27.1 | 25.57 | 21.61 | 21.05
PEAK | PEAK-SUMMARY | 426.9 | 334.3 | 474.5 | 522 | 433.6
PEAK_TIME | PEAK-SUMMARY | 3961559158 | 3961574843 | 3961582503 | 3961558800 | 3961557968
PEAK_TIME_2NDSNAP | PEAK-SUMMARY | 3961559158 | 3961574843 | 3961582503 | 3961558800 | 3961557968
PEAK_TYPE | PEAK-SUMMARY | MAXHEATREM | MAXHEATREM | MAXHEATREM | MAXHEATREM | MAXHEATREM
PEAK_VAR | PEAK-SUMMARY | FALSE | FALSE | FALSE | FALSE | FALSE
PPD | PEAK-SUMMARY | 5.952 | 6.722 | 5.045 | 5.002 | 5.857
QINTW | PEAK-SUMMARY | -239.6 | -113 | -367.8 | -350.4 | -177.6
QL_A | PEAK-SUMMARY | -1.806 | 10.98 | 3.858 | -5.192 | -3.548
QVENTIL | PEAK-SUMMARY | -289.3 | -263.4 | -408.7 | -380.2 | -292.8
QVENTIL_2NDSNAP | PEAK-SUMMARY | -289.3 | -263.4 | -408.7 | -380.2 | -292.8
QWCB | PEAK-SUMMARY | -349.2 | -167.4 | -472 | -529.8 | -316.5
QWIND | PEAK-SUMMARY | 359.1 | 0 | 720.5 | 739.8 | 262.1
Q_COOL | PEAK-SUMMARY | 0 | 0 | 0 | 0 | 0
Q_COOL_2NDSNAP | PEAK-SUMMARY | 0 | 0 | 0 | 0 | 0
Q_DRYVENT | PEAK-SUMMARY | -289.3 | -263.4 | -408.7 | -380.2 | -292.8
Q_DRYVENT_2NDSNAP | PEAK-SUMMARY | -289.3 | -263.4 | -408.7 | -380.2 | -292.8
Q_EQUIP | PEAK-SUMMARY | 133.8 | 133.8 | 133.8 | 133.8 | 133.8
Q_HEAT | PEAK-SUMMARY | 5.713e-23 | -0.352 | -7.409e-29 | 3.491e-23 | 0
Q_LIGHT | PEAK-SUMMARY | 244.7 | 245 | 240.2 | 243.6 | 244.4
Q_LOSS | PEAK-SUMMARY | 0 | 0 | 0 | 0 | 0
Q_OCC | PEAK-SUMMARY | 157.1 | 155.6 | 155.5 | 157.2 | 157.4
RELHUM | PEAK-SUMMARY | 60.51 | 57.27 | 49.87 | 55.86 | 61.15
RETAIRFLOW | PEAK-SUMMARY | -53.0055 | -53.1391 | -52.7467 | -52.7551 | -52.9805
ROOMUNITCOOL | PEAK-SUMMARY | 0 | 0 | 0 | 0 | 0
ROOMUNITCOOL_2NDSNAP | PEAK-SUMMARY | 0 | 0 | 0 | 0 | 0
SETPOINT | PEAK-SUMMARY | 24 | 24 | 24 | 24 | 24
SUPAIRFLOW | PEAK-SUMMARY | 53.8821 | 53.9155 | 53.9155 | 53.8738 | 53.8654
SUPAIRFLOW_2NDSNAP | PEAK-SUMMARY | 53.8821 | 53.9155 | 53.9155 | 53.8738 | 53.8654
SUPAIRTEMP | PEAK-SUMMARY | 17.01 | 17.01 | 17.01 | 17.01 | 17.01
SUPAIRTEMP_2NDSNAP | PEAK-SUMMARY | 17.01 | 17.01 | 17.01 | 17.01 | 17.01
TAIR | PEAK-SUMMARY | 21.4 | 21 | 23.21 | 22.78 | 21.45
TAIR_2NDSNAP | PEAK-SUMMARY | 21.4 | 21 | 23.21 | 22.78 | 21.45
TOP | PEAK-SUMMARY | 21.46 | 21.04 | 23.44 | 22.92 | 21.52
DIN41082-DEG_H | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
DRYVENTCOOL | ZONE-SUMMARY | 7.2551 | 5.5653 | 8.3653 | 8.5204 | 7.3122
H_T_AIR_HI | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
H_T_AIR_LO | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
H_T_OP_HI | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
H_T_OP_LO | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
LOCAL-CH-OCC_COLD | ZONE-SUMMARY | 0 | 0.054639 | 0 | 0 | 0
LOCAL-CH-OCC_HOT-1 | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
LOCAL-CH-OCC_HOT-1-KHR | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
LOCAL-CH-OCC_HOT-2 | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
LOCAL-CH-OCC_HOT-2-1.5K | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
LOCAL-CH-OCC_HOT-2-KHR | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
LOCAL-CH-OCC_HOT-2-KHR1.5K | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
LOCAL-CH-TOT_COLD | ZONE-SUMMARY | 2.4081 | 9.8886 | 0 | 0 | 0
LOCAL-CH-TOT_HOT-1 | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
LOCAL-CH-TOT_HOT-1-KHR | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
LOCAL-CH-TOT_HOT-2 | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
LOCAL-CH-TOT_HOT-2-1.5K | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
LOCAL-CH-TOT_HOT-2-KHR | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
LOCAL-CH-TOT_HOT-2-KHR1.5K | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
MAXAIRAGE | ZONE-SUMMARY | 0.983 | 0.983 | 0.983 | 0.983 | 0.983
MAXCO2 | ZONE-SUMMARY | 579.9 | 579.9 | 579.9 | 579.9 | 579.9
MAXEXHAIRFLOW | ZONE-SUMMARY | 1.086 | 1.0877 | 1.0838 | 1.0831 | 1.085
MAXHEATREM | ZONE-SUMMARY | 8.7122 | 6.8224 | 9.6837 | 10.6531 | 8.849
MAXHEATSUP | ZONE-SUMMARY | 2.0361 | 13.051 | 0 | 0 | 0
MAXPPD | ZONE-SUMMARY | 7.096 | 8.116 | 5.985 | 5.361 | 6.629
MAXRELHUM | ZONE-SUMMARY | 65.49 | 68.09 | 63.39 | 62.81 | 64.52
MAXSOLAR | ZONE-SUMMARY | 12.7 | 0 | 17.8694 | 22.0816 | 11.6796
MAXSUPAIRFLOW | ZONE-SUMMARY | 1.1003 | 1.1003 | 1.1003 | 1.1003 | 1.1003
MINRELHUM | ZONE-SUMMARY | 52.36 | 56.63 | 49.87 | 49.51 | 52.33
MULTIPLICITY | ZONE-SUMMARY | 2 | 2 | 2 | 2 | 2
NET_FLOOR_AREA | ZONE-SUMMARY | 49 | 49 | 49 | 49 | 49
OCCUPANCY | ZONE-SUMMARY | 11 | 11 | 11 | 11 | 11
OCC_HOURS | ZONE-SUMMARY | 19.62 | 19.62 | 19.62 | 19.62 | 19.62
PDH | ZONE-SUMMARY | 1.102 | 1.313 | 1.019 | 0.989 | 1.099
ROOMUNITCOOL | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
ROOMUNITCOOLEN | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
ROOMUNITCOOLENAREA | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
ROOMUNITHEAT | ZONE-SUMMARY | 6.4224 | 17.3204 | 5.0796e-18 | 5.0531e-18 | 1.0447
ROOMUNITHEATEN | ZONE-SUMMARY | 0.1029 | 1.305 | 0 | 0 | 0.0128
ROOMUNITHEATENAREA | ZONE-SUMMARY | 0.0021 | 0.026633 | 0 | 0 | 0.00026122
TAIRMAX | ZONE-SUMMARY | 22.4 | 21.15 | 23.23 | 23.34 | 22.44
TAIRMIN | ZONE-SUMMARY | 20.38 | 19.92 | 20.94 | 21.13 | 20.66
TATMAXSUPAIRFLOW | ZONE-SUMMARY | 17.01 | 17.01 | 17.01 | 17.01 | 17.01
TOPMAX | ZONE-SUMMARY | 21.34 | 20.56 | 21.99 | 22.1 | 21.63
TOPMIN | ZONE-SUMMARY | 21.34 | 20.56 | 21.99 | 22.1 | 21.63
UNMET_COOL | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
UNMET_HEAT | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0